## Slide 1: The determination of fasting blood sugar and calcium in serum

## Slide 2: SPECTROPHOTOMETER
It is a device used to detect the amount of light energy absorbed by molecules.
Spectrophotometer;produce a variety of wavelengths
Different compounds absorbs best at different wavelengths.
p-nitrophenol 320nm
p-nitrophenolate 400nm

## Slide 3
Use of spectrophotometer
Since all solutions of chemical substances absorb light from specific wavelengths, the spectrophotometer can also be used to identify components.
Since the amount of absorbed light is proportional to the concentration of the component, the spectrophotometer is also used to determine concentrations.

## Slide 4: Transmittance ve Absorbance
Transmittance:
T = I / Io I: Transmitted light Io: Incident light

## Slide 5
Absorbance; is the amount of light absorbed by a sample
A=log (I0/I)
Transmittance absorbance relationship
A = -log10 T = -log10 I
I0
Or A = 2 - log T%
I: Transmitted light Io: Incident light

## Slide 6: Lambert -Beer Law
It refers to the relationship between absorbance and concentration at a given wavelength.
A = ε. b. C.
ε: molar absorption coefficient.
b: length of solution the light passes through
C: Concentration of solution

## Slide 7: Absorbance has no unit
A = ε. b. C.
A = (M-1. cm-1) x cm x M
A = (M-1. cm-1) x cm x M

## Slide 8: Solvents used in spectrophotometric determinations
Blank : is used to reset the analytical device in order to prevent the reagents used from affecting the measurements.
Standart solution: It is a known concentration solution of a substance.
Sample Solution: The solution to be calculated for concentration

## Slide 9
Concentration and absorbance:
Absorbancesample
Csample = x Cstd
Absorbancestd

## Slide 10
EXPERIMENTS
Fasting Blood Glucose in serum
Determination of calcium levels in serum

## Slide 11: Fasting Blood Glucose
Normal ranges: 70-110 mg/dl
Hyperglycemia:Blood glucose above normal limits
Hypoglycemia: Blood glucose is below normal limits

## Slide 12: Diabetes Mellitus
It consists of various syndromes characterized by increased blood glucose levels due to insulin deficiency.
Diabetes Mellitus has two types:
Insulin-dependent (Type I, Primer)
Insulin independent (Type II)

## Slide 13
Tip-I Diabetes
It is characterized by the absence of insulin due to the severe destruction or necrosis of β-cells of the pancreas.
It is the most common type of diabetes with hereditary basis
Tip-II diabetes
Insulin release is insufficient or there is insulin resistance in target tissues.

## Slide 14: Calcium
-It is the mineral with the greatest amount in the body
99% is found in bones.
Ca++ salts Ca3(PO4)2, Ca(OH)2
Calcium is vital for the organism.
Blood clotting,
Delivery of nerve impulses
Muscle contraction,
The strength of bone tissue,
Metabolic functions.

## Slide 15: Plasma Calcium
Normal values: 8,5-10,5 mg/dl
(2,12-2,62 mmol/L,4,25-5,25 mEq/L)
Ca++, plasma -ionized(%50-65)
-bound to proteins (%30-45)
-complex with organic ions (%5-10)

## Slide 16
Causes of hypercalcemia
- Hiperparatiroidism
- Excess amount of Dvit or Ca ++
- High sensitivity to vitamin D
- Bone diseases
- Neoplastic diseases
- Adrenal insufficiency
The most common causes of hypercalcaemia are hyperparathyroidism and malignant diseases
The most important effect of hypercalcemia is on kidneys:
- the damage to tubules
- renal stone formation

## Slide 17
Causes of hypocalcemia
Chronic renal impairment
Inadequate intake or absorption of dit or Ca ++
Hipoparatiroidizm
Neonatal hypocalcemia
Medullary carcinoma of thyroid,
Renal tubular disorders,
Magnesium deficiency and so on.

## Slide 18: Blood Glucose Determination (Glucose Oxidase Method)
D-glucose + H2O + O2 D-gluconic acid + H2O2
H2O2 peroxidase Kinonimin (pink colour)
4-aminofenazon
The pink color is proportional to the amount of glucose in the sample.
Glucose Oxidase

## Slide 19
Blank Std Sample
Std glucose sol. - 200 µl -
(100 mg/dl)
Colour Reactive 2000 µl 2000 µl 2000 µl
Sample(µl) - - 200 µl
(serum)
Mix tubes and wait 5 minutes
Read the absorbance (546 nm)

## Slide 20
Calculations:
AÖ
CS = x Cstd
Astd
CS: Sample glucose cons. (mg/dl)
Cstd:Std glucose sol. Cons. (100 mg/dl)
AÖ: Sample absorbance
Astd: Standart sol. absorbance

## Slide 21: Calcium determination in serum (Clark-Collip method)
Principle
Calcium in the serum is precipitated as calcium oxalate by the addition of ammonium oxalate. The calcium oxalate is dissolved in the acid and titrated with potassium permanganate.
Ca2+ + C2O4-2 CaC2O4 CaC2O4 + H2SO4 H2C2O4 + CaSO4
5 H2C2O4 + 3 H2SO4 + 2 KMnO4 K2SO4 +2MnSO4 +10 CO2 +8 H2O

## Slide 22: Experimental procedure
2 ml water + 2 ml serum
Add 1 ml %4’lük ammonium oxalate solution
2000 rpm 10 min. centrifuge
Discard supernatant
Add 2 mL of 2N H2SO4 to your precipitate, mix.
The precipitate is expected to dissolve in the water bath.
And transfer the solution into erlenmeyer for titration
The content is titrated with 0.01 N KMnO4 solution until a permanent pink color develops.

## Slide 23: Calculation
VKMnO4 (ml) x 0,01 N = mg Ca/20 5ml x 0,01 N= mg Ca/20 mg Ca= 1 mg
In 2 ml serum 1 mg Ca In 100 ml x
Normal values: 8,5-10,5 mg/100 ml

## Slide 24: References
Ankara University Faculty of Pharmacy Biochemistry Practice Book-2004
Practical Biochemistry (2015). Aljebory, A., And Alsalman, A.
A Laboratory Text Book of Biochemistry, Molecular Biology and Microbiology (2014)
Lehninger Principles of Biochemistry- 5th Edition (2008)
Sreeranjit, C.V.K., Lal, J.J. (2003). GLUCOSE | Properties and Analysis. Encyclopedia of Food Sciences and Nutrition, 2898–2903. doi:10.1016/b0-12-227055-x/00557-5
Eldjarn, L., Nygaard, O., Sveinsson, S. L. (1955). The determination of serum calcium a comparison between the method of clark and collip and the titration with ethylenediamine tetra-acetate. Scandinavian Journal of Clinical and Laboratory Investigation, 7(1), 92–94.