## Slide 1: THE DETERMIATION OF UREA AND URIC ACID IN SERUM

## Slide 2: URIC ACID
The final product of the metabolism of purines, which occurs as a result of the breakdown of proteins in humans, is uric acid.

## Slide 3
On a regular nutrition, the amount of uric acid excreted in the urine per day depends on the amount of exogenous and endogenous nucleoproteins. The amount of uric acid in the blood; It varies depending on age, gender, ethnic difference, socioeconomic status.

## Slide 4
More than 2 g of uric acid is excreted per day with a protein-rich nutrition.
FOR EXAMPLE: Excretion of uric acid increases in a protein-rich nutrition(especially containing amino acids such as glycine, alanine, asparagine, glutamine). In a nutrition rich in fat, excretion of uric acid decreases.

## Slide 5
The normal amount of uric acid in the blood is 2-6 mg%. Uric acid rising above normal values in the blood is called hyperuricemia, and falling below normal values is called hypouricemia.
Although hypouricemia is very common, it is not clinically important.

## Slide 6
Hyperuricemia:
Anuria,
congestive heart failure,
glomerulonephritis,
gout,
severe acute hepatitis,
nutrition rich in nucleoprotein
In cases such as chronic lead poisoning, the amount of uric acid in the blood increases.

## Slide 7
Gout is an inflammatory arthritis disease that is defined by repeated attacks of a red, sensitive, hot, swollen joint.

## Slide 8: MODIFIED CARBONATE PHOSPHOTUNGSTATE METHOD
Material: Serum
Principle: Based on blue color formation after oxidation of uric acid in alkaline environment with phosphotungstic acid indicator and reduction of phosphotungstic acid.

## Slide 9: Experimental procedure
Add 1 ml of serum and 0.5 ml of 0.7N H2SO4 to 8 ml of distilled water in a test tube and mix. This is followed by the addition of 0.5 ml of 10% sodium tungstate solution and stirring again. 1/10 serum filtrate is prepared.
Three test tubes are taken. Place 3 mL of distilled water in the first, 3 mL of the working standard in the second, and 3 mL of serum filtrate in the third. The first one is used as a blind, the second one as a standard.
Each tube contains 1 ml 14% sodium carbonate solution and 1 ml phosphotungstic acid indicator. The tubes are stirred and left for 15 minutes.
The optical densities of standard and sample are evaluated at a wavelength of 690 nm.

## Slide 10: Calculation
Sample optic density
-------------------------------- X 1 X Dilution multiplier= % mg uric acid
Standart optic density
The dilution multiplier is 10 because the experiment is done with 1/10 filtrate
Normal values for modified carbonate phosphotungstate method
Serum: 3-6 mg/100 ml
Urine : 250-750 mg/24 hour

## Slide 11: UREA
Urea is the end product of protein metabolism in humans.
It is formed by combining ammonia occured by deamination of proteins and carbon dioxide in the liver.

## Slide 12
Urea passes through the liver into the circulation and is excreted in the urine.
In a healthy person, approximately 30 g of urea is excreted in the urine in 24 hours.

## Slide 13: The quantification of urea in serum (Modified Berthelot Method)
Material: Serum
Principle: Urea in serum is broken down into NH3 and CO2 by the action of urease. In the Berthelot method, NH3 is determined by the phenol hypochlorite reaction using sodium nitroprusside as catalyzer.

## Slide 14: Experimental procedure
Two tubes are taken for serum sample and blank.
The sample tube contains 0.2 ml of serum, 10 ml of 1% EDTA solution and a spatula urease.
The second to be used as a blind contains 10.2 mL of 1% EDTA solution and a spatula urease.
Both tubes are kept in a 55-57°C water bath for 15 minutes.
The tubes are removed from the water bath and cooled.
Transfer 1 ml of the sample tube to a test tube, place 1 ml of phenol color indicator and 1 ml of alkali hypochlorite indicator.
Transfer 1 ml of the blank tube to a test tube, place 1 ml of phenol color indicator and 1 ml of alkali hypochlorite indicator.
The tubes are stirred and again held in a water bath at 55-57°C for 3 minutes.
The tubes are cooled, each tube is mixed with 7 ml of distilled water and mixed.
After 5 minutes, the absorbances of sample and blank tubes are evaluated at 525 nm.
The amount of urea in the serum is calculated from the calibration graph.

## Slide 15: Calibration chart
Experimental procedure:
1. Take 5 test tubes and place reagents as shown below.
KÖR %31.25 mg %62.5 mg %125 mg %250 mg
---------------------------------------------------------------------------------------------------------
(NH4)2SO4 working sol. (ml) - 0.125 0.250 0.5 1
Distilled water (ml) 8 7.875 7.750 7.5 7
Fenol indicator (ml) 1 1 1 1 1
Alkaline hypochlorite sol.(ml) 1 1 1 1 1
---------------------------------------------------------------------------------------------------------
2. The tubes are kept in a 55-57 ° C water bath for 3 minutes.
3. The water is removed from the bath, allowed to stand for 5 minutes, read at 525 nm against blank.
4. A graph of absorbance values versus concentration is drawn.

## Slide 16: Standart curve
Chart: 
| 31.25 | 62.5 | 125 | 250
 | 0.2 | 0.4 | 0.8 | 1.6

## Slide 17
Normal values of urea in serum for modified Berthelot method:
The blood urea is 20-35 mg/100 ml and this value corresponds to 8-20 mg of urea nitrogen.

## Slide 18
When the serum urea value is high:
heart failure
Infection
Diabetes
Protein-rich diet
Addison's disease
When the serum urea amount is low:
Pernicious anemia
Crohn's disease
Cystic fibrosis
Zollinger-Ellison syndrome

## Slide 19: References
Biochemistry practice book (2004)