Ankara Üniversitesi

Kütüphane ve Dokümantasyon Daire Başkanlığı

Açık Ders Malzemeleri

### Çalışma Planı (Çalışma Takvimi)

| Weeks | Items |
| --- | --- |
| 1.Week | Introduction: The precaution of working safely. o Examples of laboratory accidents First aid in accident |
| 2. Week | Processes to be done before the start of laboratory work: o Methods of recognizing the hazards of chemical substances and taking precautions |
| 3. Week | How can we learn the danger of chemical substances |
| 4. Week | Chemical environment: o Storage and transport rules |
|  | Chemical substances that should not be in contact with each other |
| 5. Week | Devices and materials o Working with glass materials o Installation of devices, heating and cooling processes |
| 6. Week | Working under low pressure o Working under high pressure |
|  | Glass cleaning o Operations to be applied to laboratory wastes Processes to be applied to waste matter of unknown quality and composition |
| 7. Week | Fire and explosion hazards o Use of flammable liquids, flammable liquids, self-immersed materials, explosive substances and mixtures o Exothermic reactions, disruption reactions o Protection against fire in laboratories, definition of fire, classes, materials used in fire fighting |
| 8.Week | Working with electrical devices o Data about electric current o Accidents caused by electric current o Physiological effects of electric current |
| 10. Week | Harmful substances and toxicology o Exposure to chemical compound and route of administration, poisoning indication, dosage units |
| 11.Week | Distribution in organism, metabolism and transformation o Effect of harmful substances, carcinogenic, mutagenic and teratogenic substances |
| 12. Week | Protection from danger from respiration o Physiological basis of respiration, conditions to be protected |
| 13. Week | Filtered devices (masks) o Compressed air supply devices |
| 14. Week | First aid in laboratory accidents o Actions to be performed in first aid cases requiring first aid |