## Slide 1: PHA 297 Laboratory Safety Week 11-12

## Slide 2: MINIMIZING, CONTROLLING, AND MANAGING HAZARDS
Managing Risk—Making Decisions About Safety
Scientists are constantly estimating risks, either thoughtfully or casually, and then making decisions about how to proceed with particular experiments with appropriate cautions. They have to decide how much risk to accept. This is the process of risk management.
Zero risk vs Acceptable Risk
People often come to different conclusions regarding whether a given level of risk is either acceptable or unacceptable. Otherwise stated, we differ on deciding “what is safe.”
Laws and Regulations
  Zero-risk laws: “perfect” safety is required
  Balancing laws : weighing some level of acceptable risk
  Technology based laws: the zero or reasonable risk cannot be attained due to the limits of some technology. The regulated level of exposure is based on the lowest feasible level that some technological solution can produce.

## Slide 3: Is zero risk possible?
“Zero-based” laws are uncommon
the Delaney Clause (1958): “shall not approve for use in food any chemical additive found to induce cancer in man, or, after tests, found to induce cancer in animals.” This is a very “extreme” condition since it completely bans the use of any (natural or synthetic) chemical that is believed to cause cancer at any dose in any species. In 1988 the Environmental Protection Agency changed its policy in interpreting the Delaney Clause to include the criterion of “de minimus,” which refers to a risk level “too small to be concerned with.” That is, minimal or negligible risks are acceptable.

## Slide 4: BHOPAL TRAGEDY
In December 1984 in Bhopal, India
3800 died, injured as many as 500,000 people with 100,000 of those injuries being permanent
Methylisocyanate (BP 39 ◦C, vapor pressure 348 mm Hg at 20 ◦C, Hazard Class 1)
A safety valve failed and released 40 tons of MIC.
  Was storage neccesary?
  Electricity to the refrigeration units had been turned off to save money
  A backup system to prevent water from entering even if the valve fails was not in place.
  A scrubber system to neutralize any escaping gas with a NaOH solution had been turned off.
  A system to ignite any escaping gas using a burning flare had been turned off to save fuel.
  A water-jet system that is used to capture/dissolve any escaping gas had insufficient pressure
  An alarm system was turned off soon after the release “to avoid causing panic.”
  The plant did not have many of the safety equipment and procedures

## Slide 6: Controlling Risk
Eye protection
wear appropriate eye protection at all times.
Various Safety Glasses.
Safety glasses with side shields can provide some protection against flying shrapnel but are ineffective against chemical splashes.
Chemical Splash Goggles.
These goggles provide excellent splash protection and are relatively comfortable to wear, if sized properly.

## Slide 7: Eye protection
Contact lenses – a matter of choice
The main concern was that chemicals would get trapped behind the contact lens and attempts to wash the eyes with water would be much less effective. However, in 2005 after considering available scientific evidence, workers be permitted to wear contact lenses, as long as there were no regulations or other medical/safety recommendations against wearing contact lenses. Wearing contact lenses does not reduce the requirement to wear eye protection—you should still wear chemical splash goggles in the laboratory over your eyes.
Some safety professionals recommend that students who are wearing contact lenses place some mark on the side of the safety goggles (such as a red dot or sticker) to indicate the presence of contact lenses. This can remind anyone assisting the victim in some exposure to the eye(s) that the contacts are present and should be removed. However, others must know that this special designation, a sticker or red dot, means that you are wearing contacts.

## Slide 8: Advanced eye and face protection
Face Shield. A face shield can be used to get even more and better protection for the face and neck. Chemical splash goggles must still be worn under the face shield.
Safety Shields. Parts (a) and (b) show different styles of portable safety shields. These are designed to withstand impacts without shattering or easily falling over.

## Slide 9: Advanced eye protection - LASER safety
Laser: Light Amplification by the Stimulated Emission of Radiation
Monochromatic beam of light that are in phase and moving in the same direction
Bar codes, CD / DVD players, laser printers, laser light shows etc
High powered lasers has the potential for serious eye damage and also skin damage
The most important safety measure that you must remember for all lasers is never stare directly into the beam. You must always avoid eye exposure to lasers. Eye injuries, including permanent eye damage, are the most common serious result from laser exposure. If you are working with Class 3B or Class 4 lasers, you must make a conscious effort to wear eye protection. All persons working in this area should also be wearing laser eye protection.

## Slide 10: Advanced eye protection - LASER safety
While “wearing eye protection” in the form of special safety goggles that protect the eyes from the laser radiation sounds easy, just as in the situation with gloves, there are no “universal goggles” that protect the eye from all wavelengths of light. Protection from lasers has to be addressed with specific wavelength hazards in mind, in addition to concerns about the intensity of the laser light. Laser glasses or goggles will have information printed on them that identifies the OD in various wavelength ranges. You should only wear eye protection that is specifically designed for the laser light you are using.
You must make every effort to avoid direct or reflected exposure to laser light.
Lasers should be built or enclosed in protective housing. Class 3B and Class 4 lasers should have key switches and safety interlocks to prevent opening without shutting down the beam
Never shine a laser on a reflective surface.
You should not wear jewelry or watches that could result in inadvertent scattering of a beam.
Many lasers have high-voltage power supplies, some ranging into thousands of volts, so electrical safety is a critical and substantial consideration in working with lasers

## Slide 11
PROTECTING YOUR SKIN—CLOTHES, GLOVES, AND TOOLS
The guiding principle in this section is: avoid having lab chemicals come in contact with your skin. First, any barrier (clothing) that covers the skin provides some limited ability for chemicals to come in contact with skin:
  long sleeves instead of short sleeves for shirts are better
  Long pants instead of shorts or skirts are better
  Lab coats are recommended
  Always wear shoes that completely cover the feet
While clothing provides some minimal barrier, it’s obvious that acid-soaked clothing will be in contact with the skin, so clothing must also be removed quickly in the event of some accident involving liquids. Use an emergency shower for rapid washing of spills on your body.
Perhaps the most common incidents when working in the laboratory involve cuts or punctures, especially to the hands, from handling glassware (pipets, beakers, ﬂasks, vials, etc.) or cutting tools (scissors, knives, scalpels, razor blades, etc.). The ﬁrst step toward prevention of these cuts is to be aware that these can occur and the second is to dispose of used or broken glassware properly. Do not put used or broken glass into a normal trash container where custodial staff may be cut or become contaminated.

## Slide 12: Gloves
Your hands are the most likely part of your body to be exposed to chemicals and you should take precautions to protect your hands. Wearing protective gloves in the lab is an obvious way to minimize contact with chemicals in the event of a spill or splash.
One of the most important things to know about gloves is that no one glove material protects against all chemicals and any given material protects only against some chemicals.
You are likely to have available disposable nitrile gloves. Latex gloves used to be the “standard” glove in labs but increasing numbers of people have had allergic responses to latex in recent years and these gloves are largely being replaced in labs and in hospitals (Nitrile gloves have fairly good protective properties for dilute solutions of acids and bases and various salt solutions. They are good for some organic solvents, but not for others. Thus, nitrile gloves are a reasonable choice in introductory chemistry labs.
Various Types of Protective
Gloves Used in Laboratories. Many styles of
gloves, made with many different kinds of
materials, are available. It is important to select the
right glove to protect against the particular hazard.
Degree of protection and dexterity vary
considerably. There is no “universal” glove.

## Slide 14: Gloves
Most disposable gloves are around 0.1 mm thick. This provides reasonable dexterity and modest protection against a puncture. (Some operations in advanced labs or in stockroom work may require thicker gloves that provide more protection.) Usually you will have size selection of small, medium, or large. Selecting the right size is important since gloves that are too small will be hard to put on without tearing and gloves that are too large will reduce the dexterity of your hands and fingers. Gloves that are “too thick” and/or “too loose” can become a safety hazard since handling glassware or small objects becomes more difficult.
As the name suggests, these gloves are disposable. When you are through using them, take them off by “reverse peeling” them starting at the wrist so that they turn inside-out. This will place any contamination on the (new) “inside” of the glove so that no chemicals are transferred to your bare hand in the process of removing and throwing them away

## Slide 15
Hot Materials: Gloves or Tools?
Handling hot objects with your bare hands is obviously dangerous. While there are special gloves with excellent insulation that are available in most research labs, these are quite expensive and not generally available in student labs. To handle hot objects, it is best to use beaker tongs and forceps

## Slide 16: CHEMICAL HOODS
Laboratory Hood with a
Vertical Sash. Sashes should always be closed
except when arms and hands need to be accessing
something inside the chemical hood. This both
saves energy (for many modern hoods) and
provides a shield against explosions and fires.
Laboratory Hood with
Horizontal Sashes. These hoods are less frequently
used but can offer similar protection as the vertical
sash as long as they are not removed and the
openings are kept to minimum size during
operations and use.

## Slide 17: CHEMICAL HOODS
Features of a Laboratory Hood.
It is important to understand the function of the
various parts of a chemical hood to use a hood
effectively. If the chemical hood is used without
understanding the dynamics of airflow, you may think
you are protected from exposure to the interior
atmosphere of the chemical hood when you are not.
Airflow in a Laboratory Hood. This idealized situation can be compromised by inappropriate materials in the hood, poor airflow, or rapid arm movement that can allow the interior atmosphere to flow back into the laboratory.

## Slide 18: CHEMICAL HOODS
Glovebox. Gloveboxes are usually used in chemistry laboratories more for the protection of chemicals than lab personnel. Chemicals that are airand/or water-sensitive can be used in these closed environments. This picture does not show a tank of nitrogen or argon that would usually be used for the interior atmosphere or various pumps and recirculating
systems. The antechamber on the right is used to transfer materials in and out of the glovebox without allowing the laboratory atmosphere to enter the interior of the glovebox.
Laboratory Balance in Plastic Box. Some boxes can be constructed to allow equipment to be used inside.

## Slide 19: RESPIRATORS
Disposable Mask Respirator. These disposable masks are easy to use but do not provide a tight seal against the face. Hospital personnel often wear these kinds of masks to protect the patient; they are not used to protect health care personnel (such as in surgery). These masks should rarely be considered for use in a laboratory.
Cartridge Respirators. As with disposable masks, these respirators should rarely be considered for use in a laboratory.

## Slide 20
Color Coding for Selected Respirator Cartridges and Canisters

## Slide 21: Common Laboratory Operations and Equipment——Safety Considerations
Working Alone You should not work alone in a laboratory. Use the buddy system. If you are separated by a wall or out of direct observation, then you must devise a system to periodically check your buddy. Your buddy should know what you are doing, particularly if this involves hazardous operations. Someone should always be in the near vicinity so that if something happens, an explosion or incident, your buddy can have an opportunity to get you assistance. Explosions, fires, splashes, spills, or contact with chemical or physical hazards could result in life-threatening incidents that require immediate action. If you are alone you are putting yourself at high and unnecessary risk.
Glassware, Needles, Scalpels, and Other ‘‘Sharps’’ Perhaps the most common incidents in laboratories involve cuts and punctures from broken glassware, needles, or cutting tools. “Sharps” is a generic term often used in the medical field to describe needles or other items that can puncture skin. This term has also been adopted in many chemical labs to refer to needles, broken glass, and other lab materials that can puncture skin. It is important that you dispose of them in containers specifically designed for that purpose; do not put sharps in the normal trash can. Custodial personnel have been injured by inappropriate disposal of these materials. Furthermore, should you be working with biological organisms, these sharps could become a source of infection.

## Slide 22: Common Laboratory Operations and Equipment——Safety Considerations
Weighing Since the process of weighing a solid or liquid involves the transfer of the substance from a container to some holding device on a balance, this can easily result in contamination of a surface near the vicinity of the transfer. Surface contamination presents an opportunity for exposure. This can be significant if the chemical being weighed is very toxic and can be absorbed through the skin. Prudent measures include covering the area with plastic-backed absorbent paper and decontaminating the area after each weighing, especially if the contamination is visible. Plastic-backed absorbent paper is frequently used in many laboratory operations to prevent the spread of contamination and prevent the formation of aerosols that might be produced from liquid spills or splashes. Appropriate gloves should be worn to prevent skin contact

## Slide 23: Common Laboratory Operations and Equipment——Safety Considerations
Ovens are often used to dry glassware or some chemicals such as drying agents. You should not put any glassware that has been washed with a flammable solvent, like acetone, into a drying oven until the solvent has completely evaporated and the “air” inside the glassware has been flushed with air or nitrogen. You should never use ovens to treat or dry a volatile or flammable chemical.
Heating This is an essential part of laboratory work. Wherever possible, you should use steam heating for your operations since this is much safer than hot plates. However, steam heating is limited to a maximum temperature of 100 ◦C. Some heating devices can be potential ignition sources and it is important that you recognize this and prevent contact of flammable vapors with these devices.
Oil baths used for heating vessels should utilize oils that do not smoke, such as silicone oil. There are several potential hazards from these: burns from touching hot surfaces or splatters of hot oil, potential for fires if the
flash point of the oil is exceeded, and potential for electrical shock from unguarded terminals
Heat guns (the scientific version of a high-powered “blow drier”) have a motor that draws in air and passes it over a heating coil that easily becomes red-hot. These are potential sources of ignition and they should never be used around flammables

## Slide 24
Common Laboratory Operations and Equipment——Safety Considerations
Microwave Ovens Microwave ovens have become a popular tool in many laboratories, but while they can be very useful their misuse can have serious consequences. Explosions, burns, and microwave and chemical exposures have occurred from inappropriate use of microwave ovens. Below is a list of safety measurements for microwave ovens in the laboratory.
• Do not heat flammable liquids in a microwave oven. Domestic ovens are not spark-proof, and laboratory ovens may or may not be spark-proof. Look for labels indicating “spark-proof.”
• Do not heat radioactive or other hazardous chemicals in microwave ovens since any incident or release will contaminate the oven.
• Do not override or modify safety interlocks or switches or other mechanical or electrical systems.
• Do not put wires or tubing between the door and its sealing gasket; always ensure the door is properly sealed when closed.
• Never heat food or drink in microwave ovens being used in laboratory operations.
• Do not put metal objects such as aluminum foil or magnetic stirring bars in the oven.
• Do not heat sealed or loosely sealed containers. Screw cap containers with loose caps have exploded. Use laboratory wipes to cover the containers during heating.
• Do not overheat solutions and remember that solutions and containers can be very hot. Use protective face/eye equipment and protective gloves. Superheated water can “explode” when the container is moved, causing severe burns.

## Slide 25: Common Laboratory Operations and Equipment——Safety Considerations
Ultrasonic Cleaners Ultrasonic cleaners are used in many laboratories for cleaning small parts. While the high-frequency noise (16–100 kHz) can be very irritating, it has not been reported to produce permanent damage through airborne transmission. However, it has been reported to cause fatigue, headaches, nausea, and tinnitus (ringing in the ears).8 You should not come in direct body contact with solutions undergoing ultrasonic cleaning since this could damage tissues; don’t put your fingers in these vibrating solutions.