## Slide 1
Calibration
All analytical methods require calibration when used for quantitative analysis purposes.

## Slide 2
Calibration is a process to accurately determine the relationship of the analytical signal measured at the output of an instrument to the concentration of the analyte:

## Slide 3
The specificity of a calibration method depends on precision, accuracy, bias, sensitivity, limits of detection, selectivity, and the range of concentrations available.

## Slide 4
Precision:
This is a measure of reproducibility; how close are the results obtained in the same way to each other?

## Slide 5
Accuracy:
How close is the measured value to the real value? Normally it is defined as% relative error (can be absolute error); for example, 1% error is within the 1% limit of the actual analyte concentration of the measured concentration.

## Slide 6
Normally it is defined as% relative error (can be absolute error); for example, 1% error is within the 1% limit of the actual analyte concentration of the measured concentration.

## Slide 7
Bias:
It is expressed as absolute error. , average of all values; xi represents the actual value.

## Slide 8
Sensitivity:
Sensitivity depends on two factors; the slope of the calibration curve (increases by the slope) and the closeness of the measurements.