## Slide 1
Selectivity:
Selectivity factors are between 0 and 1; interferences may be negative if the observed signal is reduced.

## Slide 2
Detection Limits:
It is the minimum amount of analyte (or concentration) that can be detected at a known level of reliability.

## Slide 3
Applicable Concentration Range:
Calibration curves are required. In addition, when the analysis is made, the absorbance of at least one standard is measured again to determine errors that are caused by uncontrolled variables.

## Slide 4
Thus, the deviation of the standard from the original calibration curve is used to correct the results obtained for the sample.

## Slide 5
Dynamic Range:
The use of the linear portion of the curve is preferred; the analytical signal in this section is directly proportional to the amount of analyte.

## Slide 6
There is no increase in the response value at the analyte concentrations above the dynamic range.

## Slide 7
Limit of Detection (LOD):
It is the lowest content that can be measured with reasonable determination.

## Slide 8
Typically three times of the S / N (signal / noise); It is based on the standard deviation of noise.