## Slide 1
Precision:
  Precision is defined as the extent to which results agree with one another. In other words, it is a measure of consistency, and is usually evaluated in terms of the range or spread of results.

## Slide 2
  Practically, this means that precision is inherently related to the standard deviation of the repeated measurements.

## Slide 3
When referring to the consistency between individual values amongst a set of replicate measurements performed by the same person, at the same time on the same sample, using the same method, this is termed the measurement repeatability.

## Slide 4
When referring to the consistency of a method as used by different analysts, laboratories, and/or over an extended time period, this is termed the reproducibility.

## Slide 5
Note that accuracy and precision are separate things: it is entirely possible to have results that are accurate but not precise, as well as results that are precise but not accurate.

## Slide 6
One way to demonstrate the importance of statistics in analytical chemistry is to look at some of the common questions asked about measurement results, and the statistical techniques we can use to answer them.

## Slide 7
When I repeat a measurement, I get different numbers; which do I use?
  Calculate the mean and standard deviation of the values; this is the starting point for any statistical evaluation of your data.

## Slide 8
  Remember that the inherent variation associated with any real measurement means you would expect to get somewhat different values for replicate measurements.