## Slide 1
GRAVIMETRY
Gravimetry based on measurement of weight of an analysed species or a compound containing the analysed species. Measuring mass is the most fundamental of all analytical measurements, and gravimetry is unquestionably the oldest analytical technique. Gravimetric analysis describes a set of methods in analytical chemistry for the quantitative determination of an analyte based on the mass of a solid. A simple example is the measurement of solids suspended in a water sample: A known volume of water is filtered, and the collected solids are weighed.

## Slide 2
Advantages
Gravimetric analysis, if methods are followed carefully, provides for exceedingly precise analysis. In fact, gravimetric analysis was used to determine the atomic masses of many elements to six figure accuracy. Gravimetry provides very little room for instrumental error and does not require a series of standards for calculation of an unknown.

## Slide 3
Methods also do not require often expensive equipment. Gravimetric analysis, due to its high degree of accuracy, when performed correctly, can also be used to calibrate other instruments in lieu of reference standards.

## Slide 4
Disadvantages
Gravimetric analysis usually only provides for the analysis of a single element, or a limited group of elements, at a time. Comparing modern dynamic flash combustion coupled with gas chromatography with traditional combustion analysis will show that the former is both faster and allows for simultaneous determination of multiple elements while traditional determination allowed only for the determination of carbon and hydrogen.

## Slide 5
Methods are often convoluted and a slight mis-step in a procedure can often mean disaster for the analysis (colloid formation in precipitation gravimetry, for example). Compare this with hardy methods such as spectrophotometry and one will find that analysis by these methods is much more efficient.

## Slide 6
Gravimetric methods are divided into three groups:
(1) mechanical separations; (2) dry methods; and (3) wet methods.

## Slide 7
Mechanical Separations.—Under this head are classed the method of assaying tin ores, known as vanning, and the amalgamation assay for gold. A set of sieves to determine the relative proportion of powders of different degrees of fineness is sometimes useful. A set with 10, 20, 40 and 80 meshes to the inch is convenient.

## Slide 8
Dry Assays.—An important distinction between wet and dry methods of assaying is, that in the former the substance is got into the liquid state by solution, whilst in the latter fusion is taken advantage of.